## Profiles
Attribute Name | Tag | 0xTag | Profile Basic | Profile MR | Profile OFSEP | Profile Neurinfo
Hint: insert a new profile with adding a column "Profile XXX"; in yellow all differences to Supp. 142 - Basic Profile
Accession Number | (0008,0050) | 0x00080050 | Z | Z | Z | Z
Acquisition Comments | (0018,4000) | 0x00184000 | X | X | X | X
Acquisition Context Sequence | (0040,0555) | 0x00400555 | X/Z | X | X | X
Acquisition Date | (0008,0022) | 0x00080022 | X/Z | X | K | K
Acquisition DateTime | (0008,002A) | 0x0008002A | X/Z/D | X | X | X
Acquisition Device Processing Description | (0018,1400) | 0x00181400 | X/D | X | X | X
Acquisition Field Of View Label | (0018,11BB) | 0x001811BB | D | D | D | D
Acquisition Protocol Description | (0018,9424) | 0x00189424 | X | X | X | X
Acquisition Time | (0008,0032) | 0x00080032 | X/Z | X | K | K
Acquisition UID | (0008,0017) | 0x00080017 | U | U | U | U
Actual Human Performers Sequence | (0040,4035) | 0x00404035 | X | X | X | X
Additional Patientʼs History | (0010,21B0) | 0x001021B0 | X | X | X | X
Address (Trial) | (0040,A353) | 0x0040A353 | X | X | X | X
Admission ID | (0038,0010) | 0x00380010 | X | X | X | X
Admitting Date | (0038,0020) | 0x00380020 | X | X | X | X
Admitting Diagnoses Code Sequence | (0008,1084) | 0x00081084 | X | X | X | X
Admitting Diagnoses Description | (0008,1080) | 0x00081080 | X | X | X | X
Admitting Time | (0038,0021) | 0x00380021 | X | X | X | X
Affected SOP Instance UID | (0000,1000) | 0x00001000 | X | X | X | X
Allergies | (0010,2110) | 0x00102110 | X | X | X | X
Annotation Group Description | (006A,0006) | 0x006A0006 | X | X | X | X
Annotation Group Label | (006A,0005) | 0x006A0005 | D | D | D | D
Annotation Group UID | (006A,0003) | 0x006A0003 | D | D | D | D
Approval Status DateTime | (0044,0004) | 0x00440004 | X | X | X | X
Arbitrary | (4000,0010) | 0x40000010 | X | X | X | X
Assertion DateTime | (0044,0104) | 0x00440104 | D | D | D | D
Assertion Expiration DateTime | (0044,0105) | 0x00440105 | X | X | X | X
Attribute Modification DateTime | (0400,0562) | 0x04000562 | D | D | D | D
Author Observer Sequence | (0040,A078) | 0x0040A078 | X | X | X | X
Barcode Value | (2200,0005) | 0x22000005 | X/Z | X/Z | X/Z | X/Z
Beam Description | (300A,00C3) | 0x300A00C3 | X | X | X | X
Beam Hold Transition DateTime | (300C,0127) | 0x300C0127 | D | D | D | D
Bolus Description | (300A,00DD) | 0x300A00DD | X | X | X | X
Branch of Service | (0010,1081) | 0x00101081 | X | X | X | X
Calibration Date | (0014,407E) | 0x0014407E | X | X | X | X
Calibration DateTime | (0018,1203) | 0x00181203 | Z | Z | Z | Z
Calibration Time | (0014,407C) | 0x0014407C | X | X | X | X
Camera Owner Name | (0016,004D) | 0x0016004D | X | X | X | X
Cassette ID | (0018,1007) | 0x00181007 | X | X | X | X
Certificate of Signer | (0400,0115) | 0x04000115 | D | D | D | D
Certified Timestamp | (0400,0310) | 0x04000310 | X | X | X | X
Clinical Trial Coordinating Center Name | (0012,0060) | 0x00120060 | Z | Z | Z | Z
Clinical Trial Protocol Ethics Committee Approval Number | (0012,0082) | 0x00120082 | X | X | X | X
Clinical Trial Protocol Ethics Committee Name | (0012,0081) | 0x00120081 | D | D | D | D
Clinical Trial Protocol ID | (0012,0020) | 0x00120020 | D | D | D | D
Clinical Trial Protocol Name | (0012,0021) | 0x00120021 | Z | Z | Z | Z
Clinical Trial Series Description | (0012,0072) | 0x00120072 | X | X | X | X
Clinical Trial Series ID | (0012,0071) | 0x00120071 | X | X | X | X
Clinical Trial Site ID | (0012,0030) | 0x00120030 | Z | Z | Z | Z
Clinical Trial Site Name | (0012,0031) | 0x00120031 | Z | Z | Z | Z
Clinical Trial Sponsor Name | (0012,0010) | 0x00120010 | D | D | D | D
Clinical Trial Subject ID | (0012,0040) | 0x00120040 | D | D | D | D
Clinical Trial Subject Reading ID | (0012,0042) | 0x00120042 | D | D | D | D
Clinical Trial Time Point Description | (0012,0051) | 0x00120051 | X | X | X | X
Clinical Trial Time Point ID | (0012,0050) | 0x00120050 | Z | Z | Z | Z
Comments on Radiation Dose | (0040,0310) | 0x00400310 | X | X | X | X
Comments on Performed Procedure Step | (0040,0280) | 0x00400280 | X | X | X | X
Compensator Description | (300A,02EB) | 0x300A02EB | X | X | X | X
Concatenation UID | (0020,9161) | 0x00209161 | U | U | U | U
Conceptual Volume Combination Description | (3010,000F) | 0x3010000F | Z | Z | Z | Z
Conceptual Volume Description | (3010,0017) | 0x30100017 | Z | Z | Z | Z
Conceptual Volume UID | (3010,0006) | 0x30100006 | U | U | U | U
Confidentiality Constraint on Patient Data Description | (0040,3001) | 0x00403001 | X | X | X | X
Constituent Conceptual Volume UID | (3010,0013) | 0x30100013 | U | U | U | U
Consulting Physician's Name | (0008,009C) | 0x0008009C | Z | Z | Z | Z
Consulting Physician Identification Sequence | (0008,009D) | 0x0008009D | X | X | X | X
Container Component ID | (0050,001B) | 0x0050001B | X | X | X | X
Container Description | (0040,051A) | 0x0040051A | X | X | X | X
Container Identifier | (0040,0512) | 0x00400512 | D | D | D | D
Content Creatorʼs Identification Code Sequence | (0070,0086) | 0x00700086 | X | X | X | X
Content Creatorʼs Name | (0070,0084) | 0x00700084 | Z/D | Z | Z | Z
Content Date | (0008,0023) | 0x00080023 | Z/D | Z | Z | Z
Content Sequence | (0040,A730) | 0x0040A730 | D | X | X | X
Content Time | (0008,0033) | 0x00080033 | Z/D | Z | Z | Z
Context Group Local Version | (0008,0107) | 0x00080107 | D | D | D | D
Context Group Version | (0008,0106) | 0x00080106 | D | D | D | D
Contrast Bolus Agent | (0018,0010) | 0x00180010 | Z/D | Z | K | K
Contrast/Bolus Start Time | (0018,1042) | 0x00181042 | X | X | X | X
Contrast/Bolus Stop Time | (0018,1043) | 0x00181043 | X | X | X | X
Contribution DateTime | (0018,A002) | 0x0018A002 | X | X | X | X
Contribution Description | (0018,A003) | 0x0018A003 | X | X | X | X
Country of Residence | (0010,2150) | 0x00102150 | X | X | X | X
Creation Date | (2100,0040) | 0x21000040 | X | X | X | X
Creation Time | (2100,0050) | 0x21000050 | X | X | X | X
Current Observer (Trial) | (0040,A307) | 0x0040A307 | X | X | X | X
Current Patient Location | (0038,0300) | 0x00380300 | X | X | X | X
Curve Data | (50xx,xxxx) | 0x50xxxxxx | X | X | X | X
Curve Date | (0008,0025) | 0x00080025 | X | X | X | X
Curve Time | (0008,0035) | 0x00080035 | X | X | X | X
Custodial Organization Sequence | (0040,A07C) | 0x0040A07C | X | X | X | X
Data Set Trailing Padding | (FFFC,FFFC) | 0xFFFCFFFC | X | X | X | X
Date | (0040,A121) | 0x0040A121 | D | D | D | D
Date of Document or Verbal Transaction (Trial) | (0040,A110) | 0x0040A110 | X | X | X | X
Date of Installation | (0018,1205) | 0x00181205 | X | X | X | X
Date of Last Calibration | (0018,1200) | 0x00181200 | X | X | X | X
Date of Last Detector Calibration | (0018,700C) | 0x0018700C | X/D | X/D | X/D | X/D
Date of Manufacture | (0018,1204) | 0x00181204 | X | X | X | X
Date of Secondary Capture | (0018,1012) | 0x00181012 | X | X | X | X
DateTime | (0040,A120) | 0x0040A120 | D | D | D | D
DateTime of Last Calibration | (0018,1202) | 0x00181202 | X | X | X | X
Decay Correction DateTime | (0018,9701) | 0x00189701 | D | D | D | D
Decomposition Description | (0018,937F) | 0x0018937F | X | X | X | X
Derivation Description | (0008,2111) | 0x00082111 | X | X | X | X
Destination AE | (2100,0140) | 0x21000140 | D
Detector ID | (0018,700A) | 0x0018700A | X/D | X | X | X
Device Alternate Identifier | (3010,001B) | 0x3010001B | Z | Z | Z | Z
Device Description | (0050,0020) | 0x0050020 | X | X | X | X
Device Label | (3010,002D) | 0x3010002D | D | D | D | D
Device Serial Number | (0018,1000) | 0x00181000 | X/Z/D | X | K | K
Device Setting Description | (0016,004B) | 0x0016004B | X | X | X | X
Device UID | (0018,1002) | 0x00181002 | U | U | U | U
Digital Signature DateTime | (0400,0105) | 0x04000105 | D | D | D | D
Digital Signatures Sequence | (FFFA,FFFA) | 0xFFFAFFFA | X | X | X | X
Digital Signature UID | (0400,0100) | 0x04000100 | U | X | X | X
Dimension Organization UID | (0020,9164) | 0x00209164 | U | U | U | U
Discharge Date | (0038,0030) | 0x00380030 | U | U | U | U
Discharge Diagnosis Description | (0038,0040) | 0x00380040 | X | X | X | X
Discharge Time | (0038,0032) | 0x00380032 | X | X | X | X
Displacement Reference Label | (300A,079A) | 0x300A079A | X | X | X | X
Distribution Address | (4008,011A) | 0x4008011A | X | X | X | X
Distribution Name | (4008,0119) | 0x40080119 | X | X | X | X
Dose Reference Description | (300A,0016) | 0x300A0016 | X | X | X | X
Dose Reference UID | (300A,0013) | 0x300A0013 | U | U | U | U
Dosimetric Objective UID | (3010,006E) | 0x3010006E | U | U | U | U
Effective DateTime | (0068,6226) | 0x00686226 | D | D | D | D
Encapsulated Document | (0042,0011) | 0x00420011 | D | D | D | D
End Acquisition DateTime | (0018,9517) | 0x00189517 | X/D | X/D | X/D | X/D
Entity Description | (3010,0037) | 0x30100037 | X | X | X | X
Entity Label | (3010,0035) | 0x30100035 | D | D | D | D
Entity Long Label | (3010,0038) | 0x30100038 | D | D | D | D
Entity Name | (3010,0036) | 0x30100036 | X | X | X | X
Equipment Frame of Reference Description | (300A,0676) | 0x300A0676 | X | X | X | X
Ethics Committee Approval Effectiveness End Date | (0012,0087) | 0x00120087 | X | X | X | X
Ethics Committee Approval Effectiveness Start Date | (0012,0086) | 0x00120086 | X | X | X | X
Ethnic Group | (0010,2160) | 0x00102160 | X | X | X | X
>Ethnic Group Code Sequence | (0010,2161) | 0x00102161 | X | X | X | X
Exclusion Start DateTime | (0018,9804) | 0x00189804 | D | D | D | D
Expected Completion DateTime | (0040,4011) | 0x00404011 | X | X | X | X
Failed SOP Instance UID List | (0008,0058) | 0x00080058 | U | U | U | U
Fiducial UID | (0070,031A) | 0x0070031A | U | U | U | U
Filler Order Number / Imaging Service Request | (0040,2017) | 0x00402017 | Z | Z | Z | Z
Filter Lookup Table Description | (003A,032B) | 0x003A032B | X | X | X | X
Findings Group Recording Date (Trial) | (0040,A023) | 0x0040A023 | X | X | X | X
Findings Group Recording Time (Trial) | (0040,A024) | 0x0040A024 | X | X | X | X
First Treatment Date | (3008,0054) | 0x30080054 | X/D | X/D | X/D | X/D
Fixation Device Description | (300A,0196) | 0x300A0196 | X | X | X | X
Flow Identifier | (0034,0002) | 0x00340002 | D | D | D | D
Flow Identifier Sequence | (0034,0001) | 0x00340001 | D | D | D | D
Fractionation Notes | (3010,007F) | 0x3010007F | Z | Z | Z | Z
Fraction Group Description | (300A,0072) | 0x300A0072 | X | X | X | X
Frame Acquisition DateTime | (0018,9074) | 0x00189074 | D | D | D | D
Frame Comments | (0020,9158) | 0x00209158 | X | X | X | X
Frame of Reference UID | (0020,0052) | 0x00200052 | U | U | U | U
Frame Origin Timestamp | (0034,0007) | 0x00340007 | D | D | D | D
Frame Reference DateTime | (0018,9151) | 0x00189151 | D | D | D | D
Functional Sync Pulse | (0018,9623) | 0x00189623 | D | D | D | D
Gantry ID | (0018,1008) | 0x00181008 | X | X | X | X
Generator ID | (0018,1005) | 0x00181005 | X | X | X | X
GPS Altitude | (0016,0076) | 0x00160076 | X | X | X | X
GPS Altitude Ref | (0016,0075) | 0x00160075 | X | X | X | X
GPS Area Information | (0016,008C) | 0x0016008C | X | X | X | X
GPS Date Stamp | (0016,008D) | 0x0016008D | X | X | X | X
GPS Dest Bearing | (0016,0088) | 0x00160088 | X | X | X | X
GPS Dest Bearing Ref | (0016,0087) | 0x00160087 | X | X | X | X
GPS Dest Distance | (0016,008A) | 0x0016008A | X | X | X | X
GPS Dest Distance Ref | (0016,0089) | 0x00160089 | X | X | X | X
GPS Dest Latitude | (0016,0084) | 0x00160084 | X | X | X | X
GPS Dest Latitude Ref | (0016,0083) | 0x00160083 | X | X | X | X
GPS Dest Longitude | (0016,0086) | 0x00160086 | X | X | X | X
GPS Dest Longitude Ref | (0016,0085) | 0x00160085 | X | X | X | X
GPS Differential | (0016,008E) | 0x0016008E | X | X | X | X
GPS DOP | (0016,007B) | 0x0016007B | X | X | X | X
GPS Img Direction | (0016,0081) | 0x00160081 | X | X | X | X
GPS Img Direction Ref | (0016,0080) | 0x00160080 | X | X | X | X
GPS Latitude | (0016,0072) | 0x00160072 | X | X | X | X
GPS Latitude Ref | (0016,0071) | 0x00160071 | X | X | X | X
GPS Longitude | (0016,0074) | 0x00160074 | X | X | X | X
GPS Longitude Ref | (0016,0073) | 0x00160073 | X | X | X | X
GPS Map Datum | (0016,0082) | 0x00160082 | X | X | X | X
GPS Measure Mode | (0016,007A) | 0x0016007A | X | X | X | X
GPS Processing Method | (0016,008B) | 0x0016008B | X | X | X | X
GPS Satellites | (0016,0078) | 0x00160078 | X | X | X | X
GPS Speed | (0016,007D) | 0x0016007D | X | X | X | X
GPS Speed Ref | (0016,007C) | 0x0016007C | X | X | X | X
GPS Status | (0016,0079) | 0x00160079 | X | X | X | X
GPS Time Stamp | (0016,0077) | 0x00160077 | X | X | X | X
GPS Track | (0016,007F) | 0x0016007F | X | X | X | X
GPS Track Ref | (0016,007E) | 0x0016007E | X | X | X | X
GPS Version ID | (0016,0070) | 0x00160070 | X | X | X | X
Graphic Annotation Sequence | (0070,0001) | 0x00700001 | D | D | D | D
Hanging Protocol Creation DateTime | (0072,000A) | 0x0072000A | D | D | D | D
HL7 Document Effective Time | (0040,E004) | 0x0040E004 | X | X | X | X
Human Performers Name | (0040,4037) | 0x00404037 | X | X | X | X
Human Performers Organization | (0040,4036) | 0x00404036 | X | X | X | X
Icon Image Sequence (see Note 11) | (0088,0200) | 0x00880200 | X | X | X | X
Identifying Comments | (0008,4000) | 0x00084000 | X | X | X | X
Image Comments | (0020,4000) | 0x00204000 | X | X | X | X
Image Presentation Comments | (0028,4000) | 0x00284000 | X | X | X | X
Imaging Service Request Comments | (0040,2400) | 0x00402400 | X | X | X | X
Impedance Measurement DateTime | (003A,0314) | 0x003A0314 | D | D | D | D
Impressions | (4008,0300) | 0x40080300 | X | X | X | X
Information Issue DateTime | (0068,6270) | 0x00686270 | D | D | D | D
Instance Coercion DateTime | (0008,0015) | 0x00080015 | X | X | X | X
Instance Creation Date | (0008,0012) | 0x00080012 | X/D | X/D | X/D | X/D
Instance Creation Time | (0008,0013) | 0x00080013 | X/Z/D | X/Z/D | X/Z/D | X/Z/D
Instance Creator UID | (0008,0014) | 0x00080014 | U | U | U | U
Instance Origin Status | (0400,0600) | 0x04000600 | X | X | X | X
Institution Address | (0008,0081) | 0x00080081 | X | X | K | X
Institutional Department Name | (0008,1040) | 0x00081040 | X | X | X | X
Institutional Department Type Code Sequence | (0008,1041) | 0x00081041 | X | X | X | X
Institution Code Sequence | (0008,0082) | 0x00080082 | X/Z/D | X | X | X
Institution Name | (0008,0080) | 0x00080080 | X/Z/D | X | K | X
Instruction Performed DateTime | (0018,9919) | 0x00189919 | Z/D | Z/D | Z/D | Z/D
Insurance Plan Identification | (0010,1050) | 0x00101050 | X | X | X | X
Intended Fraction Start Time | (3010,0085) | 0x30100085 | X | X | X | X
Intended Phase End Date | (3010,004D) | 0x3010004D | X/D | X/D | X/D | X/D
Intended Phase Start Date | (3010,004C) | 0x3010004C | X/D | X/D | X/D | X/D
Intended Recipients of Results Identification Sequence | (0040,1011) | 0x00401011 | X | X | X | X
Interlock DateTime | (300A,0741) | 0x300A0741 | D | D | D | D
Interlock Description | (300A,0742) | 0x300A0742 | D | D | D | D
Interlock Origin Description | (300A,0783) | 0x300A0783 | D | D | D | D
Interpretation Approval Date | (4008,0112) | 0x40080112 | X | X | X | X
Interpretation Approval Time | (4008,0113) | 0x40080113 | X | X | X | X
Interpretation Approver Sequence | (4008,0111) | 0x40080111 | X | X | X | X
Interpretation Author | (4008,010C) | 0x4008010C | X | X | X | X
Interpretation Diagnosis Description | (4008,0115) | 0x40080115 | X | X | X | X
Interpretation ID | (4008,0200) | 0x40080200 | X | X | X | X
Interpretation ID Issuer | (4008,0202) | 0x40080202 | X | X | X | X
Interpretation Recorded Date | (4008,0100) | 0x40080100 | X | X | X | X
Interpretation Recorded Time | (4008,0101) | 0x40080101 | X | X | X | X
Interpretation Recorder | (4008,0102) | 0x40080102 | X | X | X | X
Interpretation Text | (4008,010B) | 0x4008010B | X | X | X | X
Interpretation Transcriber | (4008,010A) | 0x4008010A | X | X | X | X
Interpretation Transcription Date | (4008,0108) | 0x40080108 | X | X | X | X
Interpretation Transcription Time | (4008,0109) | 0x40080109 | X | X | X | X
Intervention Drug Start Time | (0018,0035) | 0x00180035 | X | X | X | X
Intervention Drug Stop Time | (0018,0027) | 0x00180027 | X | X | X | X
Irradiation Event UID | (0008,3010) | 0x00083010 | U | U | U | U
Issue Date of Imaging Service Request | (0040,2004) | 0x00402004 | X
Issuer of Admission ID | (0038,0011) | 0x00380011 | X | X | X | X
Issuer of Admission ID Sequence | (0038,0014) | 0x00380014 | X | X | X | X
Issuer of Clinical Trial Protocol ID | (0012,0022) | 0x00120022 | X | X | X | X
Issuer of Clinical Trial Series ID | (0012,0073) | 0x00120073 | X | X | X | X
Issuer of Clinical Trial Site ID | (0012,0032) | 0x00120032 | X | X | X | X
Issuer of Clinical Trial Subject ID | (0012,0041) | 0x00120041 | X | X | X | X
Issuer of Clinical Trial Subject Reading ID | (0012,0043) | 0x00120043 | X | X | X | X
Issuer of Clinical Trial Time Point ID | (0012,0055) | 0x00120055 | X | X | X | X
Issuer of Patient ID | (0010,0021) | 0x00100021 | X | X | X | X
Issuer of Service Episode ID | (0038,0061) | 0x00380061 | X | X | X | X
Issuer of Service Episode ID Sequence | (0038,0064) | 0x00380064 | X | X | X | X
Issuer of the Container Identifier Sequence | (0040,0513) | 0x00400513 | Z | Z | Z | Z
Issuer of the Specimen Identifier Sequence | (0040,0562) | 0x00400562 | Z | Z | Z | Z
Issue Time of Imaging Service Request | (0040,2005) | 0x00402005 | X | X | X | X
Label Text | (2200,0002) | 0x22000002 | X/Z | X/Z | X/Z | X/Z
Large Palette Color Lookup Table UID | (0028,1214) | 0x00281214 | U | U | U | U
Last Menstrual Date | (0010,21D0) | 0x001021D0 | X | X | X | X
Lens Make | (0016,004F) | 0x0016004F | X | X | X | X
Lens Model | (0016,0050) | 0x00160050 | X | X | X | X
Lens Serial Number | (0016,0051) | 0x00160051 | X | X | X | X
Lens Specification | (0016,004E) | 0x0016004E | X | X | X | X
Long Device Description | (0050,0021) | 0x00500021 | X | X | X | X
MAC | (0400,0404) | 0x04000404 | X | X | X | X
Maker Note | (0016,002B) | 0x0016002B | X | X | X | X
Manufacturer's Device Class UID | (0018,100B) | 0x0018100B | U | U | U | U
Manufacturer's Device Identifier | (3010,0043) | 0x30100043 | Z | Z | Z | Z
Media Storage SOP Instance UID | (0002,0003) | 0x00020003 | U | U | U | U
Medical Alerts | (0010,2000) | 0x00102000 | X | X | X | X
Medical Record Locator | (0010,1090) | 0x00101090 | X | X | X | X
Military Rank | (0010,1080) | 0x00101080 | X | X | X | X
Modified Attributes Sequence | (0400,0550) | 0x04000550 | X | X | X | X
Modified Image Date | (0020,3403) | 0x00203403 | X | X | X | X
Modified Image Description | (0020,3406) | 0x00203406 | X | X | X | X
Modified Image Time | (0020,3405) | 0x00203405 | X | X | X | X
Modifying Device ID | (0020,3401) | 0x00203401 | X | X | X | X
Modifying System | (0020,3401) | 0x00203401 | D | D | D | D
Most Recent Treatment Date | (3008,0056) | 0x30080056 | X/D | X/D | X/D | X/D
Multi-energy Acquisition Description | (0018,937B) | 0x0018937B | X | X | X | X
Multiplex Group UID | (003A,0310) | 0x003A0310 | U | U | U | U
Name of Physician(s) Reading Study | (0008,1060) | 0x00081060 | X | X | X | X
Names of Intendeds Recipient of Results | (0040,1010) | 0x00401010 | X | X | X | X
Network ID | (0008,1000) | 0x00081000 | X | X | X | X
Nonconforming Data Element Value | (0400,0552) | 0x04000552 | X | X | X | X
Nonconforming Modified Attributes Sequence | (0400,0551) | 0x04000551 | X | X | X | X
Observation Date (Trial) | (0040,A192) | 0x0040A192 | X | X | X | X
Observation DateTime | (0040,A032) | 0x0040A032 | X/D | X/D | X/D | X/D
Observation Start DateTime | (0040,A033) | 0x0040A033 | X | X | X | X
Observation Subject UID (Trial) | (0040,A402) | 0x0040A402 | U | U | U | U
Observation Time (Trial) | (0040,A193) | 0x0040A193 | X | X | X | X
Observation UID | (0040,A171) | 0x0040A171 | U | U | U | U
Occupation | (0010,2180) | 0x00102180 | X | X | X | X
OperatorsʼIdentification Sequence | (0008,1072) | 0x00081072 | X/D | X | X | X
Operatorsʼ Name | (0008,1070) | 0x00081070 | X/Z/D | X | X | X
Order Callback Phone Number | (0040,2010) | 0x00402010 | X | X | X | X
Order Callback Telecom Information | (0040,2011) | 0x00402011 | X | X | X | X
Order Entered By | (0040,2008) | 0x00402008 | X | X | X | X
Order Enterer’s Location | (0040,2009) | 0x00402009 | X | X | X | X
Original Attributes Sequence | (0400,0561) | 0x04000561 | X | X | X | X
Originator | (2100,0070) | 0x21000070 | X | X | X | X
Other Clinical Trial Protocol IDs Sequence | (0012,0023) | 0x00120023 | X | X | X | X
Other Patient IDs | (0010,1000) | 0x00101000 | X | X | X | X
Other Patient Ids Sequence | (0010,1002) | 0x00101002 | X | X | X | X
Other Patient Names | (0010,1001) | 0x00101001 | X | X | X | X
Overlay Comments | (60xx,4000) | 0x60xx4000 | X | X | X | X
Overlay Data | (60xx,3000) | 0x60xx3000 | X | X | X | X
Overlay Date | (0008,0024) | 0x00080024 | X | X | X | X
Overlay Time | (0008,0034) | 0x00080034 | X | X | X | X
Override DateTime | (300A,0760) | 0x300A0760 | D | D | D | D
Palette Color Lookup Table UID | (0028,1199) | 0x00281199 | U | U | U | U
Participant Sequence | (0040,A07A) | 0x0040A07A | X | X | X | X
Participation DateTime | (0040,A082) | 0x0040A082 | Z | Z | Z | Z
Patient’s Address | (0010,1040) | 0x00101040 | X | X | X | X
Patientʼs Age | (0010,1010) | 0x00101010 | X | X | X | K
Patientʼs Birth Date | (0010,0030) | 0x00100030 | Z | Z | Z | Z
Patientʼs Birth Name | (0010,1005) | 0x00101005 | X | X | X | X
Patientʼs Birth Time | (0010,0032) | 0x00100032 | X | X | X | X
Patientʼs Institution Residence | (0038,0400) | 0x00380400 | X | X | X | X
Patientʼs Insurance Plan Code Sequence | (0010,0050) | 0x00100050 | X | X | X | X
Patientʼs Motherʼs Birth Name | (0010,1060) | 0x00101060 | X | X | X | X
Patientʼs Name | (0010,0010) | 0x00100010 | Z | Z | Z | Z
Patientʼs Primary Language Code Sequence | (0010,0101) | 0x00100101 | X | X | X | X
Patientʼs Primary Language Modifier Code Sequence | (0010,0102) | 0x00100102 | X | X | X | X
Patientʼs Religious Preference | (0010,21F0) | 0x001021F0 | X | X | X | X
Patientʼs Sex | (0010,0040) | 0x00100040 | Z | Z | K | K
Patient’s Sex Neutered | (0010,2203) | 0x00102203 | X/Z | X | X | X
Patientʼs Size | (0010,1020) | 0x00101020 | X | X | X | K
Patient's Telecom Information | (0010,2155) | 0x00102155 | X | X | X | X
Patientʼs Telephone Number | (0010,2154) | 0x00102154 | X | X | X | X
Patientʼs Weight | (0010,1030) | 0x00101030 | X | X | K | K
Patient Comments | (0010,4000) | 0x00104000 | X | X | X | X
Patient ID | (0010,0020) | 0x00100020 | Z/D | Z | Z | Z
Patient Setup Photo Description | (300A,0794) | 0x300A0794 | X | X | X | X
Patient Setup UID | (300A,0650) | 0x300A0650 | U | U | U | U
Patient State | (0038,0500) | 0x00380500 | X | X | X | X
Patient Transport Arrangements | (0040,1004) | 0x00401004 | X | X | X | X
Patient Treatment Preparation Method Description | (300A,0792) | 0x00401004 | X | X | X | X
Patient Treatment Preparation Procedure Parameter Description | (300A,078E) | 0x300A078E | X | X | X | X
Performed Location | (0040,0243) | 0x00400243 | X | X | X | X
Performed Procedure Step Description | (0040,0254) | 0x00400254 | X | X | X | X
Performed Procedure Step End Date | (0040,0250) | 0x00400250 | X | X | X | X
Performed Procedure Step End DateTime | (0040,4051) | 0x00404051 | X | X | X | X
Performed Procedure Step End Time | (0040,0251) | 0x00400251 | X | X | X | X
Performed Procedure Step ID | (0040,0253) | 0x00400253 | X | X | X | X
Performed Procedure Step Start Date | (0040,0244) | 0x00400244 | X | X | X | X
Performed Procedure Step Start DateTime | (0040,4050) | 0x00404050 | X | X | X | X
Performed Procedure Step Start Time | (0040,0245) | 0x00400245 | X | X | X | X
Performed Station AE Title | (0040,0241) | 0x00400241 | X | X | X | X
Performed Station Geographic Location Code Sequence | (0040,4030) | 0x00404030 | X | X | X | X
Performed Station Name | (0040,0242) | 0x00400242 | X | X | X | X
Performed Station Name Code Sequence | (0040,0248) | 0x00400248 | X | X | X | X
Performing Physiciansʼ Name | (0008,1050) | 0x00081050 | X | X | X | X
Performing Physiciansʼ Identification Sequence | (0008,1052) | 0x00081052 | X | X | X | X
Person Address | (0040,1102) | 0x00401102 | X | X | X | X
Person's Telecom Information | (0040,1104) | 0x00401104 | X
Person Telephone Numbers | (0040,1103) | 0x00401103 | X | X | X | X
Person Identification Code Sequence | (0040,1101) | 0x00401101 | D | D | D | D
Person Name | (0040,A123) | 0x0040A123 | D | D | D | D
Physician(s) of Record | (0008,1048) | 0x00081048 | X | X | X | X
Physician(s) of Record Identification Sequence | (0008,1049) | 0x00081049 | X | X | X | X
Physician(s) Reading Study Identification Sequence | (0008,1062) | 0x00081062 | X | X | X | X
Physician Approving Interpretation | (4008,0114) | 0x40080114 | X | X | X | X
Placer Order Number / Imaging Service Request | (0040,2016) | 0x00402016 | Z | Z | Z | Z
Plate ID | (0018,1004) | 0x00181004 | X | X | X | X
Position Acquisition Template Description | (3002,0123) | 0x30020123 | X | X | X | X
Position Acquisition Template Name | (3002,0121) | 0x30020121 | X | X | X | X
Pregnancy Status | (0010,21C0) | 0x001021C0 | X | X | X | X
Pre-Medication | (0040,0012) | 0x00400012 | X | X | X | X
Prescription Description | (300A,000E) | 0x300A000E | X | X | X | X
Prescription Notes | (3010,007B) | 0x3010007B | Z | Z | Z | Z
Prescription Notes Sequence | (3010,0081) | 0x30100081 | Z | Z | Z | Z
Presentation Creation Date | (0070,0082) | 0x00700082 | X | X | X | X
Presentation Creation Time | (0070,0083) | 0x00700083 | X | X | X | X
Presentation Display Collection UID | (0070,1101) | 0x00701101 | U | U | U | U
Presentation Sequence Collection UID | (0070,1102) | 0x00701102 | U | U | U | U
Prior Treatment Dose Description | (3010,0061) | 0x30100061 | X | X | X | X
Private Attributes | (gggg,eeee) where gggg is odd | 0xggggeeee | X | X | K | K
Procedure Step Cancellation DateTime | (0040,4052) | 0x00404052 | X | X | X | X
Product Expiration DateTime | (0044,000B) | 0x0044000B | X | X | X | X
Protocol Name | (0018,1030) | 0x00181030 | X/D | X | K | K
Pyramid Description | (0008,1088) | 0x00081088 | X | X | X | X
Pyramid Label | (0020,0027) | 0x00200027 | X | X | X | X
Pyramid UID | (0008,0019) | 0x00080019 | U | U | U | U
Radiation Dose Identification Label | (300A,0619) | 0x300A0619 | D | D | D | D
Radiation Dose In-Vivo Measurement Label | (300A,0623) | 0x300A0623 | D | D | D | D
Radiation Generation Mode Description | (300A,067D) | 0x300A067D | Z | Z | Z | Z
Radiation Generation Mode Label | (300A,067C) | 0x300A067C | D | D | D | D
Radiopharmaceutical Start DateTime | (0018,1078) | 0x00181078 | X | X | X | X
Radiopharmaceutical Start Time | (0018,1072) | 0x00181072 | X | X | X | X
Radiopharmaceutical Stop DateTime | (0018,1079) | 0x00181079 | X | X | X | X
Radiopharmaceutical Stop Time | (0018,1073) | 0x00181073 | X | X | X | X
Reason for Omission Description | (300C,0113) | 0x300C0113 | X | X | X | X
Reason for Requested Procedure Code Sequence | (0040,100A) | 0x0040100A | X | X | X | X
Reason for Study | (0032,1030) | 0x00321030 | X | X | X | X
Reason for Superseding | (3010,005C) | 0x3010005C | Z | Z | Z | Z
Reason for the Attribute Modification | (0400,0565) | 0x04000565 | D | D | D | D
Reason for Imaging Service Request | (0040,2001) | 0x00402001 | X | X | X | X
Reason for the Requested Procedure | (0040,1002) | 0x00401002 | X | X | X | X
Reason for Visit | (0032,1066) | 0x00321066 | X | X | X | X
Reason for Visit Code Sequence | (0032,1067) | 0x00321067 | X | X | X | X
Receiving AE | (0074,1234) | 0x00741234 | X | X | X | X
Recorded RT Control Point DateTime | (300A,073A) | 0x300A073A | D | D | D | D
Referenced Conceptual Volume UID | (3010,000B) | 0x3010000B | U | U | U | U
Referenced DateTime | (0040,A13A) | 0x0040A13A | D | D | D | D
Referenced Digital Signature Sequence | (0400,0402) | 0x04000402 | X | X | X | X
Referenced Dose Reference UID | (300A,0083) | 0x300A0083 | U | U | U | U
Referenced Dosimetric Objective UID | (3010,006F) | 0x3010006F | U | U | U | U
Referenced Fiducials UID | (3010,0031) | 0x30100031 | U | U | U | U
Referenced Frame of Reference UID | (3006,0024) | 0x30060024 | U | U | U | U
Referenced General Purpose Scheduled Procedure Step Transaction UID | (0040,4023) | 0x00404023 | U | U | U | U
Referenced Image Sequence | (0008,1140) | 0x00081140 | X/Z/U* | X | X | X
Referenced Observation UID (Trial) | (0040,A172) | 0x0040A172 | U | U | U | U
Referenced Patient Alias Sequence | (0038,1234) | 0x00381234 | X | X | X | X
Referenced Patient Photo Sequence | (0010,1100) | 0x00101100 | X | X | X | X
Referenced Patient Sequence | (0008,1120) | 0x00081120 | X | X | X | X
Referenced Performed Procedure Step Sequence | (0008,1111) | 0x00081111 | X/Z/D | X | X | X
Referenced SOP Instance MAC Sequence | (0400,0403) | 0x04000403 | X | X | X | X
Referenced SOP Instance UID | (0008,1155) | 0x00081155 | U | U | U | U
Referenced SOP Instance UID in File | (0004,1511) | 0x00041511 | U | U | U | U
Referenced Study Sequence | (0008,1110) | 0x00081110 | X/Z | X | X | X
Referenced Treatment Position Group UID | (300A,0785) | 0x300A0785 | U | U | U | U
Referring Physicianʼs Address | (0008,0092) | 0x00080092 | X | X | X | X
Referring Physicianʼs Name | (0008,0090) | 0x00080090 | Z | Z | Z | Z
Referring Physicianʼs Telephone Numbers | (0008,0094) | 0x00080094 | X | X | X | X
Referring Physicianʼs Identification Sequence | (0008,0096) | 0x00080096 | X | X | X | X
Region of Residence | (0010,2152) | 0x00102152 | X | X | X | X
Related Frame of Reference UID | (3006,00C2) | 0x300600C2 | U | U | U | U
Request Attributes Sequence | (0040,0275) | 0x00400275 | X | X | X | X
Requested Contrast Agent | (0032,1070) | 0x00321070 | X | X | K | K
Requested Procedure Comments | (0040,1400) | 0x00401400 | X | X | X | X
Requested Procedure Description | (0032,1060) | 0x00321060 | X/Z | X | X | X
Requested Procedure ID | (0040,1001) | 0x00401001 | X | X | X | X
Requested Procedure Location | (0040,1005) | 0x00401005 | X | X | X | X
Requested Series Description | (0018,9937) | 0x00189937 | X | X | X | X
Requested SOP Instance UID | (0000,1001) | 0x00001001 | U | U | U | U
Requesting AE | (0074,1236) | 0x00741236 | X | X | X | X
Requesting Physician | (0032,1032) | 0x00321032 | X | X | X | X
Requesting Service | (0032,1033) | 0x00321033 | X | X | X | X
Respiratory Motion Compensation Technique Description | (0018,9185) | 0x00189185 | X | X | X | X
Responsible Organization | (0010,2299) | 0x00102299 | X | X | X | X
Responsible Person | (0010,2297) | 0x00102297 | X | X | X | X
Results Comments | (4008,4000) | 0x40084000 | X | X | X | X
Results Distribution List Sequence | (4008,0118) | 0x40080118 | X | X | X | X
Results ID | (4008,0040) | 0x40080040 | X | X | X | X
Results ID Issuer | (4008,0042) | 0x40080042 | X | X | X | X
Retrieve AE Title | (0008,0054) | 0x00080054 | X | X | X | X
Review Date | (300E,0004) | 0x300E0004 | Z | Z | Z | Z
Reviewer Name | (300E,0008) | 0x300E0008 | X/Z | X | X | X
Review Time | (300E,0005) | 0x300E0005 | Z | Z | Z | Z
ROI Creator Sequence | (3006,004D) | 0x3006004D | X | X | X | X
ROI DateTime | (3006,002D) | 0x3006002D | X | X | X | X
ROI Description | (3006,0028) | 0x30060028 | X | X | X | X
ROI Generation Description | (3006,0038) | 0x30060038 | X | X | X | X
ROI Interpreter | (3006,00A6) | 0x300600A6 | Z | Z | Z | Z
ROI Interpreter Sequence | (3006,004E) | 0x3006004E | X | X | X | X
ROI Name | (3006,0026) | 0x30060026 | Z | Z | Z | Z
ROI Observation DateTime | (3006,002E) | 0x3006002E | X | X | X | X
ROI Observation Description | (3006,0088) | 0x30060088 | X | X | X | X
ROI Observation Label | (3006,0085) | 0x30060085 | X | X | X | X
RT Accessory Device Slot ID | (300A,0615) | 0x300A0615 | Z | Z | Z | Z
RT Accessory Holder Slot ID | (300A,0611) | 0x300A0611 | Z | Z | Z | Z
RT Physician Intent Narrative | (3010,005A) | 0x3010005A | Z | Z | Z | Z
RT Plan Date | (300A,0006) | 0x300A0006 | X/D | X/D | X/D | X/D
RT Plan Description | (300A,0004) | 0x300A0004 | X | X | X | X
RT Plan Label | (300A,0002) | 0x300A0002 | D | D | D | D
RT Plan Name | (300A,0003) | 0x300A0003 | X | X | X | X
RT Plan Time | (300A,0007) | 0x300A0007 | X/D | X/D | X/D | X/D
RT Prescription Label | (3010,0054) | 0x30100054 | D | D | D | D
RT Tolerance Set Label | (300A,062A) | 0x300A062A | D | D | D | D
RT Treatment Approach Label | (3010,0056) | 0x30100056 | X/D | X/D | X/D | X/D
RT Treatment Phase UID | (3010,003B) | 0x3010003B | U | U | U | U
Safe Position Exit Date | (3008,0162) | 0x30080162 | D | D | D | D
Safe Position Exit Time | (3008,0164) | 0x30080164 | D | D | D | D
Safe Position Return Date | (3008,0166) | 0x30080166 | D | D | D | D
Safe Position Return Time | (3008,0168) | 0x30080168 | D | D | D | D
Scheduled Admission Date | (0038,001A) | 0x0038001A | X | X | X | X
Scheduled Admission Time | (0038,001B) | 0x0038001B | X | X | X | X
Scheduled Discharge Date | (0038,001C) | 0x0038001C | X | X | X | X
Scheduled Discharge Time | (0038,001D) | 0x0038001D | X | X | X | X
Scheduled Human Performers Sequence | (0040,4034) | 0x00404034 | X | X | X | X
Scheduled Patient Institution Residence | (0038,001E) | 0x0038001E | X | X | X | X
Scheduled Performing Physician Name | (0040,0006) | 0x00400006 | X | X | X | X
Scheduled Performing Physician Identification Sequence | (0040,000B) | 0x0040000B | X | X | X | X
Scheduled Procedure Step Description | (0040,0007) | 0x00400007 | X | X | X | X
Scheduled Procedure Step End Date | (0040,0004) | 0x00400004 | X | X | X | X
Scheduled Procedure Step End Time | (0040,0005) | 0x00400005 | X | X | X | X
Scheduled Procedure Step Expiration DateTime | (0040,4008) | 0x00404008 | X | X | X | X
Scheduled Procedure Step ID | (0040,0009) | 0x00400009 | X | X | X | X
Scheduled Procedure Step Location | (0040,0011) | 0x00400011 | X | X | X | X
Scheduled Procedure Step Modification DateTime | (0040,4010) | 0x00404010 | X | X | X | X
Scheduled Procedure Step Start Date | (0040,0002) | 0x00400002 | X | X | X | X
Scheduled Procedure Step Start DateTime | (0040,4005) | 0x00404005 | X | X | X | X
Scheduled Procedure Step Start Time | (0040,0003) | 0x00400003 | X | X | X | X
Scheduled Station AE Title | (0040,0001) | 0x00400001 | X | X | X | X
Scheduled Station Geographic Location Code Sequence | (0040,4027) | 0x00404027 | X | X | X | X
Scheduled Station Name | (0040,0010) | 0x00400010 | X | X | X | X
Scheduled Station Name Code Sequence | (0040,4025) | 0x00404025 | X | X | X | X
Scheduled Study Location | (0032,1020) | 0x00321020 | X | X | X | X
Scheduled Study Location AE Title | (0032,1021) | 0x00321021 | X | X | X | X
Scheduled Study Start Date | (0032,1000) | 0x00321000 | X | X | X | X
Scheduled Study Start Time | (0032,1001) | 0x00321001 | X | X | X | X
Scheduled Study Stop Date | (0032,1010) | 0x00321010 | X | X | X | X
Scheduled Study Stop Time | (0032,1011) | 0x00321011 | X | X | X | X
Selector AE Value | (0072,005E) | 0x0072005E | D | D | D | D
Selector AS Value | (0072,005F) | 0x0072005F | D | D | D | D
Selector DA Value | (0072,0061) | 0x00720061 | D | D | D | D
Selector DT Value | (0072,0063) | 0x00720063 | D | D | D | D
Selector LO Value | (0072,0066) | 0x00720066 | D | D | D | D
Selector LT Value | (0072,0068) | 0x00720068 | D | D | D | D
Selector OB Value | (0072,0065) | 0x00720065 | D | D | D | D
Selector PN Value | (0072,006A) | 0x0072006A | D | D | D | D
Selector SH Value | (0072,006C) | 0x0072006C | D | D | D | D
Selector ST Value | (0072,006E) | 0x0072006E | D | D | D | D
Selector TM Value | (0072,006B) | 0x0072006B | D | D | D | D
Selector UN Value | (0072,006D) | 0x0072006D | D | D | D | D
Selector UR Value | (0072,0071) | 0x00720071 | D | D | D | D
Selector UT Value | (0072,0070) | 0x00720070 | D | D | D | D
Series Date | (0008,0021) | 0x00080021 | X/D | X | K | K
Series Description | (0008,103E) | 0x0008103E | X | X | K | K
Series Instance UID | (0020,000E) | 0x0020000E | U | U | U | U
Series Time | (0008,0031) | 0x00080031 | X/D | X | X | X
Service Episode Description | (0038,0062) | 0x00380062 | X | X | X | X
Service Episode ID | (0038,0060) | 0x00380060 | X | X | X | X
Setup Technique Description | (300A,01B2) | 0x300A01B2 | X | X | X | X
Shielding Device Description | (300A,01A6) | 0x300A01A6 | X | X | X | X
Slide Identifier | (0040,06FA) | 0x004006FA | X | X | X | X
Smoking Status | (0010,21A0) | 0x001021A0 | X | X | X | X
SOP Authorization DateTime | (0100,0420) | 0x01000420 | X | X | X | X
SOP Instance UID | (0008,0018) | 0x00080018 | U | U | U | U
Source Conceptual Volume UID | (3010,0015) | 0x30100015 | U | U | U | U
Source End DateTime | (0018,936A) | 0x0018936A | D | D | D | D
Source Frame of Reference UID | (0064,0003) | 0x00640003 | U | U | U | U
Source Identifier | (0034,0005) | 0x00340005 | D | D | D | D
Source Image Sequence | (0008,2112) | 0x00082112 | X/Z/U* | X | X | X
Source Manufacturer | (300A,0216) | 0x300A0216 | X | X | X | X
Source of Previous Values | (0400,0564) | 0x04000564 | Z | Z | Z | Z
Source Serial Number | (3008,0105) | 0x30080105 | X/Z | X/Z | X/Z | X/Z
Source Start DateTime | (0018,9369) | 0x00189369 | D | D | D | D
Source Strength Reference Date | (300A,022C) | 0x300A022C | D | D | D | D
Source Strength Reference Time | (300A,022E) | 0x300A022E | D | D | D | D
Special Needs | (0038,0050) | 0x00380050 | X | X | X | X
Specimen Accession Number | (0040,050A) | 0x0040050A | X | X | X | X
Specimen Detailed Description | (0040,0602) | 0x00400602 | X | X | X | X
Specimen Identifier | (0040,0551) | 0x00400551 | D | D | D | D
Specimen Preparation Sequence | (0040,0610) | 0x00400610 | Z | Z | Z | Z
Specimen Short Description | (0040,0600) | 0x00400600 | X | X | X | X
Specimen UID | (0040,0554) | 0x00400554 | U | U | U | U
Start Acquisition DateTime | (0018,9516) | 0x00189516 | X/D | X/D | X/D | X/D
Station AE Title | (0008,0055) | 0x00080055 | X | X | X | X
Station Name | (0008,1010) | 0x00081010 | X/Z/D | X | X | X
Storage Media Fileset UID | (0088,0140) | 0x00880140 | U | U | U | U
Structure Set Date | (3006,0008) | 0x30060008 | Z | Z | Z | Z
Structure Set Description | (3006,0006) | 0x30060006 | X | X | X | X
Structure Set Label | (3006,0002) | 0x30060002 | D | D | D | D
Structure Set Name | (3006,0004) | 0x30060004 | X | X | X | X
Structure Set Time | (3006,0009) | 0x30060009 | Z | Z | Z | Z
Study Arrival Date | (0032,1040) | 0x00321040 | X | X | X | X
Study Arrival Time | (0032,1041) | 0x00321041 | X | X | X | X
Study Comments | (0032,4000) | 0x00324000 | X | X | X | X
Study Completion Date | (0032,1050) | 0x00321050 | X | X | X | X
Study Completion Time | (0032,1051) | 0x00321051 | X | X | X | X
Study Date | (0008,0020) | 0x00080020 | Z | Z | K | K
Study Description | (0008,1030) | 0x00081030 | X | X | K | K
Study ID | (0020,0010) | 0x00200010 | Z | Z | Z | Z
Study ID Issuer | (0032,0012) | 0x00320012 | X | X | X | X
Study Instance UID | (0020,000D) | 0x0020000D | U | U | U | U
Study Read Date | (0032,0034) | 0x00320034 | X | X | X | X
Study Read Time | (0032,0035) | 0x00320035 | X | X | X | X
Study Time | (0008,0030) | 0x00080030 | Z | Z | Z | Z
Study Verified Date | (0032,0032) | 0x00320032 | X | X | X | X
Study Verified Time | (0032,0033) | 0x00320033 | X | X | X | X
Substance Administration DateTime | (0044,0010) | 0x00440010 | X | X | X | X
Synchronization Frame of Reference UID | (0020,0200) | 0x00200200 | U | U | U | U
Table Top Position Alignment UID | (300A,0054) | 0x300A0054 | U | U | U | U
Target UID | (0018,2042) | 0x00182024 | U | U | U | U
Telephone Number (Trial) | (0040,A354) | 0x0040A355 | X | X | X | X
Template Extension Creator UID | (0040,DB0D) | 0x0040DB0D | U | U | U | U
Template Extension Organization UID | (0040,DB0C) | 0x0040DB0C | U | U | U | U
Template Local Version | (0040,DB07) | 0x0040DB07 | X | X | X | X
Template Version | (0040,DB06) | 0x0040DB06 | X | X | X | X
Text Comments | (4000,4000) | 0x40004000 | X | X | X | X
Text String | (2030,0020) | 0x20300020 | X | X | X | X
Time | (0040,A122) | 0x0040A122 | D | D | D | D
Time of Document Creation or Verbal Transaction (Trial) | (0040,A112) | 0x0040A112 | X | X | X | X
Time of Last Calibration | (0018,1201) | 0x00181201 | X | X | X | X
Time of Last Detector Calibration | (0018,700E) | 0x0018700E | X/D | X/D | X/D | X/D
Time of Secondary Capture | (0018,1014) | 0x00181014 | X | X | X | X
Timezone Offset From UTC | (0008,0201) | 0x00080201 | X | X | X | X
Topic Author | (0088,0910) | 0x00880910 | X | X | X | X
Topic Keywords | (0088,0912) | 0x00880912 | X | X | X | X
Topic Subject | (0088,0906) | 0x00880906 | X | X | X | X
Topic Title | (0088,0904) | 0x00880904 | X | X | X | X
Tracking UID | (0062,0021) | 0x00620021 | U | U | U | U
Transaction UID | (0008,1195) | 0x00081195 | U | U | U | U
Transducer Identification Sequence | (0018,5011) | 0x00185011 | X | X | X | X
Treatment Control Point Date | (3008,0024) | 0x30080024 | D | D | D | D
Treatment Control Point Time | (3008,0025) | 0x30080025 | D | D | D | D
Treatment Date | (3008,0250) | 0x30080250 | X/D | X/D | X/D | X/D
Treatment Machine Name | (300A,00B2) | 0x300A00B2 | X/Z | X/Z | X/Z | X/Z
Treatment Position Group Label | (300A,0608) | 0x300A0608 | D | D | D | D
Treatment Position Group UID | (300A,0609) | 0x300A0609 | U | U | U | U
Treatment Session UID | (300A,0700) | 0x300A0700 | U | U | U | U
Treatment Site | (3010,0077) | 0x30100077 | X/D | X/D | X/D | X/D
Treatment Sites | (300A,000B) | 0x300A000B | X | X | X | X
Treatment Technique Notes | (3010,007A) | 0x3010007A | Z | Z | Z | Z
Treatment Time | (3008,0251) | 0x30080251 | X/D | X/D | X/D | X/D
Treatment Tolerance Violation DateTime | (300A,0736) | 0x300A0736 | D | D | D | D
Treatment Tolerance Violation Description | (300A,0734) | 0x300A0734 | D | D | D | D
UDI Sequence | (0018,100A) | 0x0018100A | X | X | X | X
UID | (0040,A124) | 0x0040A124 | U | U | U | U
Unique Device Identifier | (0018,1009) | 0x00181009 | X | X | X | X
User Content Label | (3010,0033) | 0x30100033 | D | D | D | D
User Content Long Label | (3010,0034) | 0x30100034 | D | D | D | D
Verbal Source (Trial) | (0040,A352) | 0x0040A352 | X | X | X | X
Verbal Source Identifier Code Sequence (Trial) | (0040,A358) | 0x0040A358 | X | X | X | X
Verification DateTime | (0040,A030) | 0x0040A030 | D | D | D | D
Verifying Observer Identification Code Sequence | (0040,A088) | 0x0040A088 | Z | Z | Z | Z
Verifying Observer Name | (0040,A075) | 0x0040A075 | D | D | D | D
Verifying Observer Sequence | (0040,A073) | 0x0040A073 | D | D | D | D
Verifying Organization | (0040,A027) | 0x0040A027 | D | X | X | X
Visit Comments | (0038,4000) | 0x00384000 | X | X | X | X
Waveform Filter Description | (003A,0329) | 0x003A0329 | X | X | X | X
X-Ray Detector ID | (0018,9371) | 0x00189371 | D | D | D | D
X-Ray Detector Label | (0018,9373) | 0x00189373 | X | X | X | X
X-Ray Source ID | (0018,9367) | 0x00189367 | D | D | D | D

## TagsToDeleteForManufacturer
Use columns A and B: A=Manufacturer (equal to writing in DICOM files) B=Tag to delete in format 0x00101010
GE MEDICAL SYSTEMS | 0x00331013 | Example below:
GE MEDICAL SYSTEMS | 0x0033101C | SIEMENS | 0x00xxxxxx
|  | SIEMENS | 0x00xxxxxx

## Legend
Legend
D | replace with a non-zero length value that may be a dummy value and consistent with the VR
Z | replace with a zero length value, or a non-zero length value that may be a dummy value and consistent with the VR
X | remove
K | keep (unchanged for non-sequence attributes, cleaned for sequences)
C | clean, that is replace with values of similar meaning known not to contain identifying information and consistent with the VR
U | replace with a non-zero length UID that is internally consistent within a set of Instances
Z/D | Z unless D is required to maintain IOD conformance (Type 2 versus Type 1)
X/Z | X unless Z is required to maintain IOD conformance (Type 3 versus Type 2)
X/D | X unless D is required to maintain IOD conformance (Type 3 versus Type 1)
X/Z/D | X unless Z or D is required to maintain IOD conformance (Type 3 versus Type 2 versus Type 1)
X/Z/U* | X unless Z or replacement of contained instance UIDs (U) is required to maintain IOD conformance (Type 3 versus Type 2 versus Type 1 sequences containing UID references)

## Analysis for Profile MR
Attribute Name | Tag | 0xTag | Basic Profile | Module | Reference of Module in PS 3.3 | Usage | Type |  | MR Basic Profile | Comment
Acquisition Date | (0008,0022) | 0x00080022 | X/Z | General Image | C.7.6.1 | M | 3 |  | X/Z | X because type 3 element
Acquisition DateTime | (0008,002A) | 0x0008002A | X/D | General Image | C.7.6.1 | M | 3 |  | X/D | X because type 3 element
Acquisition Device Processing Description | (0018,1400) | 0x00181400 | X/D | Not present in any module of MR images IOD modules |  |  |  |  | X/D | X : element already not present
Acquisition Time | (0008,0032) | 0x00080032 | X/Z | General Image | C.7.6.1 | M | 3 |  | X/Z | X because type 3 element
Content Date | (0008,0023) | 0x00080023 | Z/D | General Image | C.7.6.1 | M | 2C | The date the image pixel data creation started. Required if image is part of a series in which the images are temporally related. May be present otherwise. Note: This Attribute was formerly known as Image Date. | Z/D | Z
Content Time | (0008,0033) | 0x00080033 | Z/D | General Image | C.7.6.1 | M | 2C | The time the image pixel data creation started. Required if image is part of a series in which the images are temporally related. May be present otherwise. | Z/D | Z
Contrast Bolus Agent | (0018,0010) | 0x00180010 | Z/D | Contrast/Bolus | C.7.6.4 | C - Required if contrast media was used in this image | 2 |  | Z/D | Z
Device Serial Number | (0018,1000) | 0x00181000 | X/Z/D | General Equipment | C.7.5.1 | M | 3 |  | X/Z/D | X because type 3 element
Institution Code Sequence | (0008,0082) | 0x00080082 | X/Z/D | Not present in any module of MR images IOD modules |  |  |  |  | X/Z/D | X : element already not present
Institution Name | (0008,0080) | 0x00080080 | X/Z/D | General Equipment | C.7.5.1 | M | 3 |  | X/Z/D | X because type 3 element
|  |  |  | SOP Common | C.12.1 | M | 3
OperatorsʼIdentification Sequence | (0008,1072) | 0x00081072 | X/D | General Series | C.7.3.1 | M | 3 |  | X/D | X because type 3 element
|  |  |  | SOP Common | C.12.1 | M | 3
Operatorsʼ Name | (0008,1070) | 0x00081070 | X/Z/D | General Series | C.7.3.1 | M | 3 |  | X/Z/D | X because type 3 element
|  |  |  | SOP Common | C.12.1 | M | 3
Patient Sex Neutered | (0010,2203) | 0x00102203 | X/Z | Patient Study | C.7.2.2 | U | 2C | Whether or not a procedure has been performed in an effort to render the patient sterile. Enumerated value: ALTERED = Altered/Neutered UNALTERED = Unaltered/intact Note: If this Attribute is present but has no value then the status is unknown. Required if patient is an animal. May be present otherwise. | X/Z | X because we are uploading patients not animals. Moreover the module "Patient Study" is a User option
Protocol Name | (0018,1030) | 0x00181030 | X/D | General Series | C.7.3.1 | M | 3 |  | X/D | X because type 3 element
Referenced Image Sequence | (0008,1140) | 0x00081140 | X/Z/U* | General Image | C.7.6.1 | M | 3 |  | X/Z/U* | X because type 3 element
Referenced Performed Procedure Step Sequence | (0008,1111) | 0x00081111 | X/Z/D | General Series | C.7.3.1 | M | 3 |  | X/Z/D | X because type 3 element
Referenced Study Sequence | (0008,1110) | 0x00081110 | X/Z | General Study | C.7.2.1 | M | 3 |  | X/Z | X because type 3 element
Requested Procedure Description | (0032,1060) | 0x00321060 | X/Z | Not present in any module of MR images IOD modules |  |  |  |  | X/Z | X : element already not present
Reviewer Name | (300E,0008) | 0x300E0008 | X/Z | Not present in any module of MR images IOD modules |  |  |  |  | X/Z | X : element already not present
Series Date | (0008,0021) | 0x00080021 | X/D | General Series | C.7.3.1 | M | 3 |  | X/D | X because type 3 element
Series Time | (0008,0031) | 0x00080031 | X/D | General Series | C.7.3.1 | M | 3 |  | X/D | X because type 3 element
Source Image Sequence | (0008,2112) | 0x00082112 | X/Z/U* | General Image | C.7.6.1 | M | 3 |  | X/Z/U* | X because type 3 element
Station Name | (0008,1010) | 0x00081010 | X/Z/D | General Equipment | C.7.5.1 | M | 3 |  | X/Z/D | X because type 3 element
|  |  |  | SOP Common | C.12.1 | M | 3
Reference document
PS 3.3-2011
Digital Imaging and Communications in Medicine (DICOM)
Part 3: Information Object Definitions
Usage
M : Mandatory (see A.1.3.1)
C : Conditional (see A.1.3.2)
U : User Option (see A.1.3.3)
Types
7.4.3 Type 2 Required Data Elements
IODs and SOP Classes define Type 2 Data Elements that shall be included and are mandatory Data Elements. However, it is permissible that if a Value for a Type 2 element is unknown it can be encoded with zero Value Length and no Value. If the Value is known the Value Field shall contain that value as defined by the elements VR and VM as specified in PS3.6. These Data Elements shall be included in the Data Set and their absence is a protocol violation.
Note
1. The intent of Type 2 Data Elements is to allow a zero length to be conveyed when the operator or application does not know its value or has a specific reason for not specifying its value. It is the intent that the device should support these Data Elements.
2. A Type 2 Sequence Data Element will contain zero or more Items, as defined by the IOD (irrespective of the VM of the Sequence, which is always one (Section 7.5)). An empty Type 2 Sequence is one with no Items, as opposed to an Item that is present but empty. Whether or not Items may be empty (contain no Data Elements) depends on the IOD definition of the Data Set for each Item, rather than the Type of the enclosing Sequence Data Element.
7.4.4 Type 2C Conditional Data Elements
IODs and SOP Classes define Type 2C elements that have the same requirements as Type 2 elements under certain specified conditions. It is a protocol violation if the specified conditions are met and the Data Element is not included.
When the specified conditions are not met, Type 2C elements shall not be included in the Data Set.
Note
An example of a Type 2C Data Element is Inversion Time (0018,0082). For several SOP Class Definitions, this Data Element is required only if the Scanning Sequence (0018,0020) has the Value "IR." It is not required otherwise. See PS3.3.
7.4.5 Type 3 Optional Data Elements
IODs and SOP Classes define Type 3 Data Elements that are optional Data Elements. Absence of a Type 3 element from a Data Set does not convey any significance and is not a protocol violation. Type 3 elements may also be encoded with zero length and no Value. The meaning of a zero length Type 3 Data Element shall be precisely the same as that element being absent from the Data Set.